Calibration 1

Ge, Hf, Mo, Nb, Sb, Si, Sn, Ta, Te, Ti, W, Zr (39-IV-ICPMS-71B, Inorganic Ventures, 125 mL, 10 mg/L in 5% HNO3/ 0.4 % HF)

Calibration 2

La, Ce, Pr, Nd, Sm, Eu, Gd, Tb, Dy, Ho, Er, Tm, Yb, Lu + Sc, Y, Th, U (39-CMS-1, Inorganic Ventures, 125 mL, 10 mg/L in 5% HNO3)

Ag, Al, Ca, Co, Cr, Cs, Cu, Fe, K, Li, Mn, Mg, Na, Ni, Rb, Sr, Zn (39-CMS-5, Inorganic Ventures, 125 mL, 10 mg/L in 5% HNO3)

As, Ba, B, Be, Cd, Hg, Pb, Se, V (each 1000 mg/L, Inorganic Ventures)

Further information about standards by Inorganic ventures